## Sheet1
Sort Model # | Serial # | Bldg | Room | System Served | Style | Orientation | VA Rating | AH Rating | Range | UPS Controll Manufacturer | Model Number or Series | Battery Qty | Battery Size or Model Number | Status as of 11/24/23
???? |  | 44 | 105 | Access Control | DC Power Supply |  |  |  |  | ? | ? | ? | ?
???? |  | 1 | 7001 | Elevator Cab Lights | [5 empty] | ? | ? | ? | ?
???? |  | 1 | 7001 | Elevator Cab Lights | [5 empty] | ? | ? | ? | ?
???? |  | 1 | 7001 | Elevator Cab Lights | [5 empty] | ? | ? | ? | ?
???? |  | 5 | 004 | Elevator Cab Lights | [5 empty] | ? | ? | ? | ?
???? |  | 1 | 4230A | Elevator Cab Lights | [5 empty] | ? | ? | ? | ?
???? |  | 1 | All | Pharmacy, didn't check | [5 empty] | ? | ? | ? | ? | not on Jared's list
???? |  | 34 | All | [6 empty] | ? | ? | ? | ?
???? |  | 45 | misc | Moble Workstations | [5 empty] | ? | ? | ? | ?
BR1300G | 5QTLR000 #1 | 1 | 3210 |  | Standalone UPS | Rack Mounted | 1300 |  |  | AGFAGEVAERT |  |  |  | active
BR1300G | 5QTLR000 #3 | 1 | 2410 |  | Standalone UPS | Rack Mounted | 1300 |  |  | AGFAGEVAERT |  |  |  | not on Jared's list
BR1300G | 5QTLR000 #4 | 1 | 2016 |  | Standalone UPS | Rack Mounted | 1300 |  |  | AGFAGEVAERT |  |  |  | not on Jared's list
BR1300G | 5QTLR000 #6 | 1 | 2016 |  | Standalone UPS | Rack Mounted | 1300 |  |  | AGFAGEVAERT |  |  |  | not on Jared's list
BR1300G | 5QTLR000 #7 | 1 | 2406 |  | Standalone UPS | Rack Mounted | 1300 |  |  | AGFAGEVAERT
Alarm SAF?27ah |  | 7 | 100 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 13 | 101 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 6 | 109 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 8 | 110 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 5 | 120 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 20 | 133 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?47ah |  | 20 | 133 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah | not on Jared's list
Alarm SAF?27ah |  | 1 | 1631 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?47ah |  | 1 | 1631 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 1 | 3608 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah
Alarm SAF?27ah |  | 1 | 4411 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah | active
Alarm SAF?27ah |  | 1 | 6409 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Alarm SAF | ? | 2 | 7ah | not on Jared's list
AltronixMaximal7747ah |  | 45 | 149 | Access Control | DC Power Supply |  |  | 28 | 10-49 | Altronix | Maximal77 | 4 | 7ah
APCSMC1500?? |  | 7 | 100 | IT | Standalone UPS | Floor | 1500 | ? | 1000-1900 | APC | SMC1500 | ? | ?
APCBack-UPS 350?? |  | 24 (Metal Clad Switchgear) | 100 | Power Monitoring | Standalone UPS |  | 350 | ? | 350-900 | APC | Back-UPS 350 | ? | ?
APCBack-UPS 400?? |  | 13 | 101 | Laundry | Standalone UPS |  | 400 | ? | 350-900 | APC | Back-UPS 400 | ? | ? | active
APCBack-UPS 800?? |  | 13 | 101 | Laundry | Standalone UPS |  | 800 | ? | 350-900 | APC | Back-UPS 800 | ? | ?
APCSNX750?? |  | 9 | 106 | Boiler Control | Standalone UPS |  | 750 | ? | 350-900 | APC | SNX750 | ? | ? | active
APCSMC1500?? |  | 9 | 107 | JCI BAS | Standalone UPS | Floor | 1500 | ? | 1000-1900 | APC | SMC1500 | ? | ?
APCSMC1500?? |  | 35 | 108 | IT | Standalone UPS | Floor | 1500 | ? | 1000-1900 | APC | SMC1500 | ? | ?
APCSMC1500?? |  | 8 | 110 | IT | Standalone UPS | Floor | 1500 | ? | 1000-1900 | APC | SMC1500 | ? | ?
APCBack-UPS 550?? |  | 20 | 123 | Nurse Call | Standalone UPS |  | 550 | ? | 350-900 | APC | Back-UPS 550 | ? | ?
APCSmart UPS 1000?? |  | 20 | 123 | Nurse Call | Standalone UPS |  | 1000 | ? | 1000-1900 | APC | Smart UPS 1000 | ? | ?
APCSMC1500?? |  | 5 | 203 | IT | Standalone UPS | Floor model | 1500 | ? | 1000-1900 | APC | SMC1500 | ? | ?
APCSMX2200RMLV2U?? |  | 1 | 1631 | Not in Use | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | SMX2200RMLV2U | ? | ?
APCSmart UPS 1000?? |  | 1 | 1632 | Nurse Call | Standalone UPS |  | 1000 | ? | 1000-1900 | APC | Smart UPS 1000 | ? | ?
APCSmart UPS 2200?? |  | 1 | 1641 | IT | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | Smart UPS 2200 | ? | ?
APCSmart UPS C1500?? |  | 1 | 1662 | Nurse Call | Standalone UPS |  | 1500 | ? | 1000-1900 | APC | Smart UPS C1500 | ? | ?
APCSmart UPS DR 500?? |  | 1 | 1689 | JCI BAS | Standalone UPS |  | 500 | ? | 350-900 | APC | Smart UPS DR 500 | ? | ?
APCAPC SUA2200RM2U ?? |  | 1 | 2414 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | APC SUA2200RM2U | ? | ?
APCTrippLite SMART1500RMXL2UA?? |  | 1 | 2414 | Nurse Call | Standalone UPS | rack mounted | 1000 | ? | 1000-1900 | APC | TrippLite SMART1500RMXL2UA | ? | ?
APCAPC SUA2200RM2U ?? |  | 1 | 2637 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | APC SUA2200RM2U | ? | ?
|  | 1 | 2637 | IT | Standalone UPS | rack mounted | 1500 |  | 1000-1900 | APC | TrippLite SMART1500RMXL2UA
APCSmart UPS DR 500?? |  | 1 | 2639 | JCI BAS | Standalone UPS |  | 500 | ? | 350-900 | APC | Smart UPS DR 500 | ? | ?
APCSmart UPS DR 500?? |  | 1 | 2639 | JCI BAS | Standalone UPS |  | 500 | ? | 350-900 | APC | Smart UPS DR 500 | ? | ?
APCSmart UPS DR 500?? |  | 1 | 2663 | JCI BAS | Standalone UPS |  | 500 | ? | 350-900 | APC | Smart UPS DR 500 | ? | ?
APCAPC SUA2200RM2U ?? |  | 1 | 2665 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | APC SUA2200RM2U | ? | ?
|  | 1 | 2665 | IT | Standalone UPS | rack mounted | 1500 | ? | 1000-1900 | APC | TrippLite SMART1500RMXL2UA | ? | ?
APCSMX120BP205AH |  | 1 | 3417 | CCTV | Battery Pack |  |  | 100 | 60-110 | APC | SMX120BP | 20 | 5AH
APCSMX120BP205AH |  | 1 | 3417 | CCTV | Battery Pack |  |  | 100 | 60-110 | APC | SMX120BP | 20 | 5AH
APCSMX120BP205AH |  | 1 | 3417 | CCTV | Battery Pack |  |  | 100 | 60-110 | APC | SMX120BP | 20 | 5AH
APCSMX2000LV?? |  | 1 | 3417 | CCTV | Standalone UPS |  | 2000 | ? | 2000-2500 | APC | SMX2000LV | ? | ?
APCSmart UPS RT 2200?? |  | 1 | 3417 | Nurse Call | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | Smart UPS RT 2200 | ? | ?
APCSUA2200RM2U?? |  | 1 | 3432 | IT | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | SUA2200RM2U | ? | ?
APCSmart UPS 1000?? |  | 1 | 3432 | Nurse Call | Standalone UPS |  | 1000 | ? | 1000-1900 | APC | Smart UPS 1000 | ? | ?
APCSmart UPS 1000?? |  | 1 | 3608 | Nurse Call | Standalone UPS |  | 1000 | ? | 1000-1900 | APC | Smart UPS 1000 | ? | ?
APCSMT750RM2U27.5AH |  | 1 | 3608 | Telemetry | Standalone UPS |  | 750 | ? | 350-900 | APC | SMT750RM2U | 2 | 7.5AH
APCSMT750RM2U27.5AH |  | 1 | 3608 | Telemetry | Standalone UPS |  | 750 | ? | 350-900 | APC | SMT750RM2U | 2 | 7.5AH
APCSMT750RM2U27.5AH |  | 1 | 3608 | Telemetry | Standalone UPS |  | 750 | ? | 350-900 | APC | SMT750RM2U | 2 | 7.5AH
APCSmart UPS DR 500?? |  | 1 | 3627 | JCI BAS | Standalone UPS |  | 500 | ? | 350-900 | APC | Smart UPS DR 500 | ? | ?
APCSUA2200RM2U?? |  | 1 | 3629 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | SUA2200RM2U | ? | ?
APCSUA2200RM2U?? |  | 1 | 3665 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | SUA2200RM2U | ? | ?
APCSURTA2200XL?? |  | 1 | 3667 | JCI BAS | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | SURTA2200XL | ? | ?
APCSURTA48XLBP87.5AH |  | 1 | 3667 | JCI BAS | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCSUA2200RM2U?? |  | 1 | 4411 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | SUA2200RM2U | ? | ?
APCSmart UPS 1500?? |  | 1 | 5031 | BMCA | Standalone UPS |  | 1500 | ? | 1000-1900 | APC | Smart UPS 1500 | ? | ?
APCSUA2200RM2U?? |  | 1 | 5409 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | SUA2200RM2U | ? | ?
|  |  | 5409 | IT | Standalone UPS | rack mounted | 2200 | ? | 2000-2500 | APC | SMT2200RM2U
APCSmart UPS 1000?? |  | 1 | 5429 | Nurse Call | Standalone UPS |  | 1000 | ? | 1000-1900 | APC | Smart UPS 1000 | ? | ?
APCSmart UPS 2200?? |  | 1 | 6409 | IT | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | Smart UPS 2200 | ? | ?
APCSmart UPS 1000?? |  | 1 | 6409 | Nurse Call | Standalone UPS |  | 1000 | ? | 1000-1900 | APC | Smart UPS 1000 | ? | ? | active
APCSmart UPS C1500?? |  | 1 | 7000 | JCI BAS | Standalone UPS |  | 1500 | ? | 1000-1900 | APC | Smart UPS C1500 | ? | ?
APCSmart UPS RT 2200?? |  | 1 | 7002 | Distributive Antenna System | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | Smart UPS RT 2200 | ? | ?
APCSmart UPS RT 2200?? |  | 1 | 7002 | Distributive Antenna System | Standalone UPS |  | 2200 | ? | 2000-2500 | APC | Smart UPS RT 2200 | ? | ?
APCSURTA48XLBP87.5AH |  | 1 | 7002 | Distributive Antenna System | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCSURTA48XLBP87.5AH |  | 1 | 7002 | Distributive Antenna System | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCSURTA48XLBP87.5AH |  | 1 | 7002 | Distributive Antenna System | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCSURTA48XLBP87.5AH |  | 1 | 7002 | Distributive Antenna System | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCSURTA48XLBP87.5AH |  | 1 | 7002 | Distributive Antenna System | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCSURTA48XLBP87.5AH |  | 1 | 7002 | Distributive Antenna System | Battery Pack |  |  | 60 | 60-110 | APC | SURTA48XLBP | 8 | 7.5AH
APCBack-UPS 650?? |  | 1 | 1619A | BMS | Standalone UPS |  | 650 | ? | 350-900 | APC | Back-UPS 650 | ? | ?
APCSmart UPS C1500?? |  | 37 | B122 | IT | Standalone UPS |  | 1500 | ? | 1000-1900 | APC | Smart UPS C1500 | ? | ?
|  | 33 | main |  | Battery Pack | rack mounted | 60 | 60-110 |  | APC | SURTA48XLBP
|  | 33 | main |  | Battery Pack | rack mounted | 60 | 60-110 |  | APC | SURTA48XLBP
|  | 33 | main |  | Battery Pack | rack mounted | 60 | 60-110 |  | APC | SURTA48XLBP
APCSURTA2200XL?? |  | 33 | main | IT | Standalone UPS | rack mounted | 2200 | 2000-2500 |  | APC | SURTA2200XL | ? | ? | dead
|  | Moab | IT closet | IT | Standalone UPS | Floor unit | 1500 | 1000-1900 |  | APC | SMC1500 |  |  | active
|  | Moab | IT closet | IT | Standalone UPS | Floor unit | 1500 | 1000-1900 |  | APC | SMC1500
|  | Montrose | IT closet | IT | Standalone UPS | rack mounted unit | 2200 | 2000-2500 |  | APC | SUA2200RM2U ??
|  | Craig | IT closet | IT | Standalone UPS | Floor unit | 1500 | 1000-1900 |  | APC | SMC1500
BE350U | AB0318325158 | 1 | 2016 | 575-360-Radiology | Standalone UPS | ? |  |  |  | APC | BE350U |  |  | active
? | ED1437001086 | 34 | 105 | ? | Standalone UPS | Rack Mounted |  |  |  | APC |  |  |  | active
469105 | AF724331498 | 1 | 100 |  | Standalone UPS | Rack Mounted |  |  |  | APC
APC SMART UPS 2200VA | JS0742010521 | 1 | 1416 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010522 | 1 | 2637 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010592 | 1 | 2414 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC |  |  |  | dead
APC SMART UPS 2200VA | JS0742010587 | 1 | 6408 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010576 | 1 | 3421 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010704 | 1 | 5409 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010594 | 1 | 4411 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010705 | 20 | 133 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010550 | 1 | 2421 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010591 | 1 | 2665 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010528 | 1 | 3629 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010552 | 1 | 3665 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC
APC SMART UPS 2200VA | JS0742010574 | 36 | 112 |  | Standalone UPS | Rack Mounted | 2200 |  |  | APC |  |  |  | not on Jared's list
APC SMART UPS 1500VA | JS0750135959 | 35 | 108 |  | Standalone UPS | Rack Mounted | 1500 |  |  | APC
SMT750RM2U | AS1430130836 | 1 | 2016 |  | Standalone UPS | Rack Mounted | 750 |  |  | APC
SMT750RM2U | AS1431222997 | 1 | 3608 |  | Standalone UPS | Rack Mounted | 750 |  |  | APC
SMT750RM2U | AS1431223327 | 34 | 103 |  | Standalone UPS | Rack Mounted | 750 |  |  | APC
SMT750RM2U | AS1431223326 | 1 | 3619 |  | Standalone UPS | Rack Mounted | 750 |  |  | APC
DLA3000RM2U | JS0945000600 | 1 | 2421 |  | Standalone UPS | Rack Mounted | 3000 |  |  | APC
DLA3000RM2U | JS0945000601 | 1 | 2421 |  | Standalone UPS | Rack Mounted | 3000 |  |  | APC
SUA3000RM2U | JS0947008598 | 1 | 2421 |  | Standalone UPS | Rack Mounted | 3000 |  |  | APC
SUA3000RM2U | JS0947008597 | 1 | 2421 |  | Standalone UPS | Rack Mounted | 3000 |  |  | APC
Ametek Powervar | 5822060R-2230298 | 1 | 2213 |  | Standalone UPS | Rack Mounted |  |  |  | Becton Dickinson
BoschD9412GV467ah |  | 45 | 149 | Access Control | DC Power Supply |  |  | 42 | 10-49 | Bosch | D9412GV4 | 6 | 7ah | active
CyberPowerSE450G?? |  | 9 | 101 | Water Softener | Standalone UPS |  | 450 | ? | 350-900 | CyberPower | SE450G | ? | ?
CyberPowerOL2200RTXL2U69AH |  | 6 | 103 | AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 36 | 105 | Conference AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerCP1500AVR/CP1500C?? |  | 6 | 106 | IT | Standalone UPS | Floor | 1500 | ? | 1000-1900 | CyberPower | CP1500AVR/CP1500C | ? | ?
CyberPowerOL2200RTXL2U69AH |  | 6 | 115 | AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerBP72V60ART2U129AH |  | 20 | 133 | IT | Battery Pack | floor |  | 108 | 60-110 | CyberPower | BP72V60ART2U | 12 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 20 | 133 | IT | Standalone UPS | floor | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 45 | 178 | AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH | dead
CyberPowerOL2200RTXL2U69AH |  | 1 | 1600 | CCTV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH | active
CyberPowerOL2200RTXL2U69AH |  | 1 | 1631 | IT | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 1 | 1662 | AOD PC | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH | dead
CyberPowerOL2200RTXL2U69AH |  | 1 | 2602 | Guest WiFI | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH | active
CyberPowerOL2200RTXL2U69AH |  | 1 | 3201 | AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 1 | 6000 | AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 1 | 7002 | TV Distribution | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPowerOL2200RTXL2U69AH |  | 6 | 101A | AV | Standalone UPS |  | 2200 | 54 | 2000-2500 | CyberPower | OL2200RTXL2U | 6 | 9AH
CyberPower1500VA?? |  | 6 | 106a | IT | Standalone UPS |  | 1500 | ? | 1000-1900 | CyberPower | 1500VA | ? | ?
BF400C | 95116505881 | 13 | 100 |  | Standalone UPS | Rack Mounted | 400 |  |  | Digital Engineering
DX Radio Systems IncOP BMS-12-75490AH: 4XDelta Unity 1 12 AVR 100 ET 4 |  | 1 | 7002 | Police Radio | DC Power Supply |  |  | 360 | 360 | DX Radio Systems Inc | OP BMS-12-75 | 4 | 90AH: 4XDelta Unity 1 12 AVR 100 ET 4
Dynalock?27ah |  | 7 | 100 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 13 | 101 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 6 | 109 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 8 | 110 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 5 | 120 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 20 | 133 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?47ah |  | 20 | 133 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 1 | 1631 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 1 | 4411 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Dynalock?27ah |  | 1 | 6409 | Access Control | DC Power Supply |  |  | 14 | 10-49 | Dynalock | ? | 2 | 7ah
Even-LiteLite Minder855AH: G01 Power B250022 |  | 44 | 104 | Emergency Lighting | DC Power Supply |  |  | 440 | 440 | Even-Lite | Lite Minder | 8 | 55AH: G01 Power B250022
GENES 48-19-AC5-PS6-DC1ETLX150-64140AH: TLXTLX150-6 |  | 1 | 7002 | AT&T: Distributive Antenna System | DC Power Supply |  |  | 560 | 560 | GE | NES 48-19-AC5-PS6-DC1ETLX150-6 | 4 | 140AH: TLXTLX150-6
GESPS Flex SPS-2U-AC5-PS3-DC12B-LVBDSBC11F490AH |  | 1 | 7002 | AT&T: Distributive Antenna System | DC Power Supply |  |  | 360 | 360 | GE | SPS Flex SPS-2U-AC5-PS3-DC12B-LVBDSBC11F | 4 | 90AH
JCIControl Panel67ah |  | 45 | 149 | Access Control | DC Power Supply |  |  | 42 | 10-49 | JCI | Control Panel | 6 | 7ah
Jeron685025AH |  | 45 | 149 | Nurse Call | DC Power Supply |  |  | 10 | 10-49 | Jeron | 6850 | 2 | 5AH
JeronJ22045AH: Dura12-5F-KY-KYB0406 |  | 1 | 3608 | Nurse Call | DC Power Supply |  |  | 20 | 10-49 | Jeron | J220 | 4 | 5AH: Dura12-5F-KY-KYB0406
MeyersLV185 00133? (Missing) |  | 45 | 186 | Emergency Lighting | DC Power Supply |  |  | ? |  | Meyers | LV185 0013 | 3 | ? (Missing)
NotifierControl Panel212AH |  | 7 | 100 | Mass Communications | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH
NotifierControl Panel27AH |  | 7 | 100 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH
NotifierControl Panel212AH |  | 44 | 104 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH
NotifierControl Panel255AH |  | 44 | 104 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierPower Supply27AH |  | 44 | 104 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7AH
NotifierControl Panel255AH |  | 44 | 104 | Mass Communications | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierControl Panel27AH |  | 44 | 104 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH
NotifierControl Panel212AH |  | 36 | 105 | Mass Communications | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH
NotifierControl Panel27AH |  | 36 | 105 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH
NotifierControl Panel212AH |  | 9 | 107 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH
NotifierControl Panel255AH |  | 9 | 107 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierPower Supply212AH |  | 9 | 107 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH
NotifierPower Supply212AH |  | 36 | 107 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH
NotifierControl Panel255AH |  | 36 | 108 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierControl Panel255AH |  | 13 | 109 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierPower Supply212AH |  | 13 | 109 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH
NotifierControl Panel212AH |  | 13 | 109 | Mass Communications | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH
NotifierControl Panel27AH |  | 13 | 109 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH
NotifierControl Panel255AH |  | 8 | 110 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierPower Supply212AH |  | 8 | 110 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH
NotifierControl Panel212AH |  | 8 | 110 | Mass Communications | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH
NotifierControl Panel27AH |  | 8 | 110 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH
NotifierPower Supply212AH |  | 20 | 134 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH
NotifierPower Supply27AH |  | 20 | 134 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7AH
NotifierControl Panel255AH |  | 45 | 149 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH
NotifierPower Supply27ah |  | 45 | 149 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah
NotifierPower Supply47ah |  | 45 | 149 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah | active
NotifierControl Panel255AH |  | 45 | 149 | Mass Communications | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH | active
NotifierPower Supply27ah |  | 45 | 149 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah | active
NotifierPower Supply47ah |  | 45 | 149 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah | active
NotifierControl Panel412AH |  | 9 | 201 | Mass Communications | DC Power Supply |  |  | 48 | 10-49 | Notifier | Control Panel | 4 | 12AH | active
NotifierControl Panel255AH |  | 9 | 201 | Mass Communications | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH | active
NotifierControl Panel27AH |  | 9 | 201 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH | active
NotifierPower Supply212AH |  | 1 | 1600 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH | active
NotifierPower Supply412AH |  | 1 | 1600 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH | active
NotifierPower Supply27AH |  | 1 | 2604 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7AH | active
NotifierPower Supply47AH |  | 1 | 2604 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7AH | active
NotifierPower Supply27AH |  | 1 | 3211 | Fire Alarm | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7AH | active
NotifierPower Supply212AH |  | 1 | 3608 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH | active
NotifierPower Supply412AH |  | 1 | 3608 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH | active
NotifierControl Panel612AH |  | 1 | 3666 | Mass Communications | DC Power Supply |  |  | 72 | 50-99 | Notifier | Control Panel | 6 | 12AH | active
NotifierControl Panel28AH |  | 1 | 3666 | Mass Communications | DC Power Supply |  |  | 16 | 10-49 | Notifier | Control Panel | 2 | 8AH | active
NotifierControl Panel212AH |  | 1 | 6000 | Mass Communications | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH | active
NotifierPower Supply212ah |  | 1 | 7000 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12ah | active
NotifierControl Panel612AH |  | 1 | 7002 | Mass Communications | DC Power Supply |  |  | 72 | 50-99 | Notifier | Control Panel | 6 | 12AH | active
NotifierControl Panel255AH |  | 1 | 7002 | Mass Communications | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH | active
NotifierPower Supply27ah |  | 1 | 7002 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah | active
NotifierPower Supply67ah |  | 1 | 7002 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah | active
NotifierPower Supply67ah |  | 1 | 7002 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Power Supply | 2 | 7ah | active
NotifierControl Panel212AH |  | 5 | 005 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH | active
NotifierControl Panel255AH |  | 5 | 005 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH | active
NotifierControl Panel212AH |  | 6 | 005-6 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH | active
NotifierControl Panel255AH |  | 6 | 005-6 | Fire Alarm | DC Power Supply |  |  | 110 | 110 | Notifier | Control Panel | 2 | 55AH | active
NotifierControl Panel212AH |  | 6 | 005-6 | Mass Communications | DC Power Supply |  |  | 24 | 10-49 | Notifier | Control Panel | 2 | 12AH | active
NotifierControl Panel27AH |  | 6 | 005-6 | Mass Communications | DC Power Supply |  |  | 14 | 10-49 | Notifier | Control Panel | 2 | 7AH | active
NotifierPower Supply212AH |  | 37 | B122 | Fire Alarm | DC Power Supply |  |  | 24 | 10-49 | Notifier | Power Supply | 2 | 12AH | active
Power VAR54060-86R?? |  | 1 | 3608 | Telemetry | Standalone UPS |  | ? | ? |  | Power VAR | 54060-86R | ? | ? | active
VRDU 480 | 141000178 | 1 | 2619 |  | Standalone UPS | Rack Mounted | 480 |  |  | Toshiba Am Med Sys |  |  |  | active
Tripp LiteInternet Office UPS?? |  | 13 | 101 | Laundry | Standalone UPS |  | ? | ? |  | Tripp Lite | Internet Office UPS | ? | ? | active
Tripp LiteLine Conditioner LC1200NoneNone |  | 1 | 1689 | JCI BAS | Standalone Line Conditioner |  | None | None |  | Tripp Lite | Line Conditioner LC1200 | None | None | active
Tripp LiteSMART1500RMXL2UA?? |  | 1 | 4411 | IT | Standalone UPS | rack mounted | 1500 | ? | 1000-1900 | Tripp Lite | SMART1500RMXL2UA | ? | ? | active
Tripp LiteInternet 350?? |  | 1 | 7002 | Electrical Metering | Standalone UPS |  | 350 | ? | 350-900 | Tripp Lite | Internet 350 | ? | ? | active
|  | Glenwood Springs | IT closet | IT | Standalone UPS | rack mounted unit | 1500 | 1000-1900 |  | Tripp Lite | SMART1500RMXL2UA |  |  | active
TrippLiteSMART1500RMXL2UA?? |  | 13 | 101 | IT | Standalone UPS | rack mounted | 1500 | ? | 1000-1900 | TrippLite | SMART1500RMXL2UA | ? | ? | active